GREAT SEQUOIA CORP. 	DOCUMENT NO.: FOC0001

REVISION NO.	: A1

Ordering Code Chart for Flanged Ball Valves

F － □ □ □ － □ □ － □ － □ □ － □ □ － N

Shell Material

CS - WCB LC - LCC SS - CF8M

Body Rating

150 - Class 150 300 - Class 300 600 - Class 600

Valve Design

R - Reduced bore, Uni-body for Class 150 & 300 R - Reduced bore, Split-body for Class 600 F - Full bore, Split-body

Trim Material FOR WCB/LCC

SS - 316 Stainless Steel (NO SYMBOL IS SUFFIXED IF CF8M SHELL MATERIAL)

Fire Safe (Option)

FS - Fire Safe

Other

N - Nace